生态环境 2007, 16(3): 860-865                                                        http://www.jeesci.com

Ecology and Environment                                                             E-mail: editor@jeesci.com
864                                                                   生态环境  第16卷第3期（2007年5月）
刘春常等：几种植物在生长过程中对人工湿地污水处理效果的影响                                              865

几种植物在生长过程中对人工湿地污水处理效果的影响
刘春常1，安树青1，夏汉平2，任  海2 *，简曙光2，张倩媚2
1. 南京大学生命科学院湿地生态研究所，江苏 南京 210093；中国科学院华南植物园，广东 广州 510650
摘要：不同的植物及植物的不同生长阶段对人工湿地系统污水处理效果都有影响。对几种华南地区常见的湿地植物在其不同生长阶段处理污水的效果进行了研究，采用了不种植物的沙滤系统作对照。结果表明：（1）植物生长过程中，植物高度能反映污水处理效果总体上的变化；（2）在植物的生长过程中，各人工湿地系统污水处理能力总体上持续增强，各水质指标pH、DO、TN、NH3-N、NO3-N、TP和CODCr等均呈下降趋势，其中TP和CODCr呈逐步下降，pH、DO、TN、NH3-N、NO3-N则呈现锯齿形波动，但总体上仍是下降过程；（3）植物系统氮处理能力好于无植物沙滤系统，而对磷TP和CODCr的去除则恰好相反；（4）不同植物对人工湿地污水的处理效果影响不明显。研究结果对探讨人工湿地污水处理规律和植物在人工湿地中的作用提供了新的科学依据，并为指导人工湿地工程的运行提供了参考。
关键词：盆栽实验；人工湿地微系统；净化效果  
中图分类号：X703        文献标识码：A        文章编号：1672-2175（2007）03-0860-06


图1  盆栽微系统简图
Fig. 1  The structure of the microcosm
1 进水口 2 配水管 3 集水管 4 出水管
人工湿地是一种新兴的环保技术，它是由植物、微生物、基质及藻类、土壤动物和真菌等构成的复合生态工程[1-2]。植物的作用形式多种多样，主要有加固植物床、改变水力传导能力、创造生物共生条件、杀菌、向基质中释放氧气及景观美学作用等方面[3]。目前，人工湿地植物的研究很多，涵盖了生态功能、解剖结构、生理及分子生物学和基因工程等多个领域[4、5]。在人工湿地植物污染物去除能力的研究中，相关工作集中在稳定运行的人工湿地系统中。实际工程运行中，人工湿地污水处理系统从建立到稳定运行期间存在一个试运行期，该时期系统的处理效果与植物的生长情况直接相关，但目前尚没有相关的研究报道。本文利用盆栽实验模拟人工湿地系统，探讨植物生长过程中污水处理效果的变化规律，同时通过不同实验处理组的对照，以进一步探讨植物在人工湿地中的作用。

1  材料及方法

1.1  实验系统构建
实验为微系统盆栽静态实验，系统由50 cm长×35 cm宽×40 cm高的塑料箱改造而成（图1）。微系统表面安装有配水管2，有进水口1与外界相连；底部安装有集水管3，有出水管4与外界相连。配水管下半部分和集水管周围铺有3 cm厚的粒径为5~10 mm的碎石，其余部分由细沙填充，填充高度为35 cm。水管底部均有孔洞（图中未标出），水流可自由进出。植物种植于该系统中。污水通过进水口进入系统，通过配水管均匀分配于系统内，经处理后进入集水管排出系统。系统处理空间为60 L，孔隙度为0.4，每天处理污水7 L，水力停留时间为3.5 d。

1.2  实验设置与污水采样方法



[image: image1.wmf]0

50

100

150

200

250

300

350

4.05

4.26

5.24

6.29

8.09

8.26

日期

h/cm

        
—◇— 风车草   —□— 白姜花   —△— 薏苡   —╳— 叠穗莎草   —*— 水芋

图2  微系统中植物的生长高度和分蘖数变化
Fig. 2  The change of height and tillers of the plants
实验分风车草(Cyperus alternifolius)、白姜花 (Hedychium coronarium)、加拿大蓬（Conyza canadensis）、薏苡 (Coix lacryma)、叠穗莎草(Cyperus imbricatus)、水芋 (Calla palustris)6种植物处理和一个空白对照，每个处理与对照均设置4个重复。2004年4月5日将植物全部种下，2004年8

月26日实验结束。这期间，分别在4月29日、5月24日、6月9日、6月29日、8月9日及8月29日进行植物高度和分蘖数调查及进出水水质取样调查（植物调查和污水取样均在早上7：00—9：00点之间进行，6月9日未作高度和分蘖数调查）。植物种植时，各组处理的4个重复其植株高度和分蘖数相同。

1.3  测定与分析方法

主要水质测试指标包括CODCr、BOD5、TP（总磷）、TN（总氮）、NH3-N、NO3-N、NO2-N、T（温度）、DO（溶解氧）和pH等10项。其中，CODCr的测定方法为快速密闭催化消解法，T与DO由溶氧仪（型号：TOA  DO-11P）测得，其它的指标均采用国标方法[6]。

2  结果与分析
2.1  植物生长变化过程

图2展示了植物生长过程高度和分蘖数的变化。

植物高度变化呈现3个阶段。首先，植物种植后至5、6月间的2个月左右时间里，植物生长缓慢；随后，在6—8月间，植物进入生长最旺盛的阶段；之后，植物生长越来越缓慢，以至死亡。5种植物中，叠穗莎草生长过程较提前，也较早结束了生命。植株分蘖数除风车草呈明显的上升变化趋势外，其它几种植物变化不明显。
2.2  污水净化效果的变化规律

图3（下页）各图展示的是植物生长过程中水质的变化，数值为所有植物处理微系统的平均值，其中CODCr和BOD5在2004年4月29日的取样数据因试验操作失误无效（图3 G）。结果表明，植物生长过程中，温度变化较小，随着气温的上升，试验后半期稍高于前半期（图3A）。DO的变化呈现阶段性（图3 B），首先在4-5月间有一个较大的上升过程，随后维持在1 mg·L-1左右的水平，之后又急剧下降到低于初始的水平。其它各指标均呈现下降趋势，其中TP、CODCr和BOD5均呈现逐步下降的过程（图3 G、H），pH、TN、NH3-N与NO3-N则呈现锯齿状波动（图3 C、D、F），并且波形完全一致。NO2-N质量浓度在最初阶段急剧下降后，一直保持较低的水平，而在试验结束阶段有小幅上升（图3 E）。
2.3  植物微系统与无植物沙滤系统处理效果比较
图4是进水水质以及进水经5个植物处理组和无植物沙滤系统处理后的水质比较，图中各指标在数值上进行了降序排列，其中图F、G中分别以TN和CODCr为排序标准。结果表明，污水经过植物系

[image: image3.wmf]0

5

10

15

20

25

30

35

4.29

5.24

6.09

6.29

8.09

8.26

日期

T

/ ℃

   
[image: image4.wmf]0.0

0.2

0.4

0.6

0.8

1.0

1.2

1.4

1.6

1.8

2.0

4.29

5.24

6.09

6.29

8.09

8.26

日期

DO

/（mg�

•L-1

）



[image: image5.wmf]6.0

6.5

7.0

7.5

4.29

5.24

6.09

6.29

8.09

8.26

日期

pH

   
[image: image6.wmf]0.0

0.2

0.4

0.6

0.8

1.0

1.2

4.29

5.24

6.09

6.29

8.09

8.26

日期

NO

3

-N

/（mg�

•L-1

）



[image: image7.wmf]0

0.05

0.1

0.15

0.2

0.25

0.3

0.35

0.4

0.45

4.29

5.24

6.09

6.29

8.09

8.26

日期

NO

2

-N

/（mg�

•L-1

）

        
[image: image8.wmf]0

1

2

3

4

5

6

7

8

9

4.29

5.24

6.09

6.29

8.09

8.26

日期

TN,NH

3

-N

/（mg�

•L-1

）

NH3-N

TN


         
[image: image9.wmf]0

0.05

0.1

0.15

0.2

0.25

0.3

0.35

0.4

0.45

0.5

4.29

5.24

6.09

6.29

8.09

8.26

日期

TP

/

（

mg•L-1

）

       
[image: image10.wmf]0

5

10

15

20

25

30

35

40

5.24

6.09

6.29

8.09

8.26

日期

COD

CR

 ,BOD

5

/（mg�

•L-1

）

CODCr

BOD5


图3  植物生长过程中污水处理效果变化
Fig. 3  The effect of the treatment in the process of plant growth
统和无植物沙滤系统处理后，T、DO和pH都有所下降（图4 A、B、C），其中，DO和pH在植物系统中下降的幅度要比在无植物沙滤系统中要大。在污染物去除方面，无植物沙滤系统出水中TP、TN

[image: image11.wmf]25

26

27

28

进水

薏苡

空白

白姜花

水芋

叠穗莎草

风车草

T

/℃�

  
[image: image12.wmf]0.0

0.5

1.0

1.5

2.0

2.5

3.0

3.5

进水

空白

风车草

白姜花

水芋

叠穗莎草

薏苡

ρ

(DO)/(mg.L

-1

)



[image: image13.wmf]6.0

6.2

6.4

6.6

6.8

7.0

7.2

7.4

7.6

进水

空白

白姜花

风车草

薏苡

水芋

叠穗莎草

pH

  
[image: image14.wmf]0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

空白

白姜花

进水

风车草

水芋

薏苡

叠穗莎草

ρ

(NO

3

-

N)/(mg.L

-1

)



[image: image15.wmf]0

0.02

0.04

0.06

0.08

0.1

0.12

0.14

0.16

0.18

0.2

进水

空白

白姜花

风车草

水芋

薏苡

叠穗莎草

ρ

(NO

2

-

N)/(mg.l

-1

)

  
[image: image16.wmf]0

2

4

6

8

10

12

进水

空白

白姜花

水芋

风车草

叠穗莎草

薏苡

ρ

(TN,NH

3

-N)/(mg.L

-l

)

NH3-N

TN



[image: image17.wmf]0

10

20

30

40

50

60

70

进水

水芋

白姜花

风车草

薏苡

叠穗莎草

空白

ρ

(BOD

5

,COD

Cr

)/(mg.L

-l

)

BOD5

CODCr

  
[image: image18.wmf]0

0.1

0.2

0.3

0.4

0.5

0.6

0.7

0.8

0.9

进水

风车草

白姜花

薏苡

叠穗莎草

水芋

空白

ρ

(TP)/(mg.L

-1

)


图4  各污水指标在不同处理及进水中的变化
Fig. 4  The change of the treatment effect between the output of the treatment groups and the input
与NO3-N均高于其它有植物微系统，NH3-N略低于白姜花的出水。而对于TP（图4 D）和CODCr（图4 G）来说，则无植物沙滤系统的出水质量浓度均要低于有植物微系统。

2.4  不同植物对微系统水质净化的影响

5种植物对污水中T、DO、pH的影响差别较小。对污染物去除效果而言，对TP的去除能力由大到小的次序为薏苡，叠穗莎草，水芋，风车草，白姜花，对CODCr的去除能力由大到小的次序为风车草叠穗莎草，水芋，薏苡，白姜花。对TN的去除能力由大到小的次序为薏苡，叠穗莎草，风车草，水芋，白姜花，但从总体趋势上看，各植物微系统出水中TN和NH3-N质量浓度相差不大，但NO3-N和NO2-N质量浓度在不同的植物的微系统间变化较大。
3  讨论和结论
3.1  植物生长过程与污染物去除

植物的生长伴随着一系列的生理生态过程，包括植株增高、分蘖数增多、根系伸长、光合作用、根际活动增强、生物量积累等。为了植物观测和工程操作方便，本研究选取了植株高度和分蘖数作为研究对象，结果表明对多数植物来说，植株高度更能反映植物生长，特别是其中植株高度与DO质量浓度之间具有一定的耦合。这种耦合的机制可能是：在植物生长前期，植物根系迅速扩展，氧释放能力同时增强，因此水中溶解氧急剧上升；到了生长中期，植物保持在旺盛生长期但氧释放能力已趋于稳定，水中溶解氧达最高并趋于稳定；到了植物生长后期，部分根系生物量腐烂分解，耗费部分氧气，因此其溶解氧水平急剧下降。尽管如此，我们并不否认分蘖数观测的价值，靖元孝等[7]对风车草分蘖数的研究就发现其分蘖数是风车草生长性的一个重要指标。
对照图2与图3，植株移栽后经过了两个月左右的缓慢生长期，在这段时间里，人工湿地系统的污水净化能力迅速提高。这说明，植物在移栽后的适应阶段完成了人工湿地内部环境的营造。至于在这过程中，人工湿地系统中不同过程，如根系的生长、生物膜的形成等是如何进行的，还需进一步的研究。
3.2  植物在污染物去除中的作用
植物在人工湿地的众多作用中[3]，根系营造良好的微生物生长环境和根系向基质中释放氧气无疑是问题的关键所在。由于根际周围大量微生物的活动，大量污染物包括氮和CODCr被去除，同时也消耗大量的溶解氧[8]。由于无植物沙滤系统的微生物含量明显少于植物系统[9]，系统消耗的溶解氧也少。尽管根系向基质放氧，但仍难以补充污染物去除的需氧量，因此导致了无植物沙滤系统出水溶解氧含量高于有植物微系统。对于污水中的磷来说，其主要通过化学吸附沉积去除[10,11]，且在其沉积过程中，植物释放的磷酸酶能抑制这一过程[12]，因此植物微系统P去除能力均低于无植物系统。
就植物而言，不同的植物在人工湿地中的生理生态特征是不尽相同的，比如植物根系氧释放能力在植物间就存在着较大的差别[13]。人工湿地中，氮的去除大部分通过硝化反硝化反应[14]，少部分通过植物吸收[5]，植物根系周围存在近根系的好氧区与远根系的厌氧区的交替环境[14]则有利于硝化反硝化反应去除氮。由于植物根系放氧能力不同，可能导致不同植物系统间硝化反应的较大差异（图4D、E）。由于植物氧释放量有限，虽然不同植物系统间的硝化反硝化反应存在较大差异，其相对较大的总氮含量，其总氮去除率相差并不很大。
参考文献：
[1]  夏汉平. 人工湿地处理污水的机理与效率[J]. 生态学杂志, 2002, 17(4): 51-59.
XIA Hanping Mechanisms and efficiencies on wastewater treatment with constructed wetlands: A review[J]. Chinese Journal of Ecology, 2002, 21(4): 51-59.
[2]  梁继东, 周启星, 孙铁珩. 人工湿地污水处理系统研究及性能改进分析[J]. 生态学杂志, 2003, 22(2): 49-55.
L1ANG Jidong, ZHOU Qixing, SUN Tieheng. A research review and technical improvement analysis of constructed wetland systems for wastewater treatment[J]. Chinese Journal of Ecology, 2003, 22(2): 49-55.

[3]  BRIX H. Do macrophytes play a role in constructed treatment wetlands? [J]. Water Science and Technology, 1997, 35 (5): 11-17.
[4]  SCHWITZGUÉBEL J P. Hype or hope: the potential of phytoremediation as an emerging green technology[J]. Remediation Journal, 2001, 11 (4): 63-78. 

[5]  STOTTMEISTER U, WIEßNER A, KUSCHK P. Effects of plants and microorganisms in constructed wetlands for wastewater treatment [J]. Biotechnology Advances, 2003, 22 (1-2): 93-117.  

[6]  王心芳. 水和废水监测分析方法[M]. 4版. 北京: 中国环境出版社, 2002: 216-219.
WANG Xinfang. Methods of the water and wastewater inspection and analysis[M]. 4th ed. Beijing: China Environmental Press, 2002: 216-219.

[7]  靖元孝, 陈兆平, 杨丹菁. 风车草对生活污水的净化效果及其在人工湿地的应用[J]. 应用与环境生物学报, 2002, 8(6): 614-617. 

JING Yuanxiao, CHEN Zhaoping, YANG Danjing. Purifying efficiency of Cyperus alternifolius to domestic sewage and its application in constructed wetland[J]. Chinese Journal of Application and Environment Biology, 2002, 8(6): 614-617.

[8]  HELAL, SAUERBECK D. Carbon turnover in the rhizosphere[J]. Z Pflanzenernähr Bodenkd, 1989, 152: 211-216.
[9]  梁威, 吴振斌, 詹发萃, 等. 人工湿地植物根区微生物与净化效果的季节变化[J]. 湖泊科学, 2004, 16(4): 312-317.
LIANG Wei, WU Zhenbin, ZHAN Facui, et al. Seasonal Variation of Macrophytes Root-zone Microorganisms and Purification Efect in the Constructed W etland System[J]. J Lake Science, 2004, 16 (4): 312-317.
[10]  张建, 魏杰. 氮磷在废水表面滤过系统中的去除机制[J].中国环境科学, 2002, 22(5): 438-441.
ZHANG Jian, WEI Jie. Nitrogen and phosphorus removal mechanism in subsurface wastewater infiltration system[J]. Chinese J Environmental Science, 2002, 22 (5): 438-441.

[11]  卢少勇, 金相灿, 余刚. 人工湿地的磷去除机理[J]. 生态环境, 2006, 15(2): 391-396.
LU Shaoyong, JIN Xiangcan, YU Gang. Phosphorus removal mechanism of constructed wetland[J]. Ecology and Environment, 2006, 15(2): 391-396.
[12]  周易勇, 付永清. 水体磷酸酶: 来源、特征及其生态学意义[J]. 湖泊科学, 1999, 11(3): 274-282.
ZHOU Yiyong, FU Yongqing. Phosphatases in natural water: origin, characteristics and ecological significance[J]. J Lake Science, 1999, 11(3): 274-282.

[13]  CHRISTINE L, OLIVER H, MICHAEL H. Environmental factors regulating the radial oxygen loss from roots of Myriophyllum spicatum and Potamogeton crispus[J]. Aquatic Botany, 2006, 84: 333-340.
[14]  REDDY K R, PATRICK J W, LINDAU C W. Nitrification denitrification at the plant root sediment interface in wetlands[J]. imnol Oceanogr, 1989, 34: 1004-1013.

Effects of several plants species in their growth on the treatment

of constructed wetlands

LIU Chunchang1, AN Shuqing1, XIA Hanping2, REN Hai2, JIAN Shuguang2, ZHANG Qianmei2
1. Institute of Wetland Ecology, School of Life Sciences, Nanjing University, Nanjing 210093, China; 
2. South China Botanical Garden, Chinese Academy of Sciences, Guangzhou 510650, China 

Abstract: Constructed wetland is efficient in wastewater treatment which is consisted of plants, microorganisms, substrates and so on. Plants are important in constructed wetlands and play crucial functions in the system. The macrophytes stabilize the surface of the beds, provide good conditions for physical filtration, prevent vertical flow systems from clogging, insulate the surface against frost during winter, and provide a huge surface area for attached microbial growth. Their roots give off oxygen to substrate to increase aerobic degradation of organic matter and nitrification. Plants have effect on the constructed wetland treatment according to different species and different growth phrases. In this study, a batter of constructed wetland microcosms were built to test the purification efficiency along the process of plant growth of different plant species. The comparation of the treatment between the microcosms with plants and without plants was also considered. Based on the experiments, the following results were obtained. (1) The height of the plants can reflect the purification efficiency when the plants grew. (2) The treatment capabilty of the constructed wetland microcosms had been rising when the plants grew. And the water quality items, including pH, TN, NH3-N, NO3-N, TP and CODCr all reduced as a whole as the plants grew. Among them, TP and CODCr decreased gratually, but pH, TN, NH3-N and NO3-N changed in shape of serration in the same tendency. (3) All the groups could reduce the pollutions greatly, but the nitrogen removal was more efficient the microcosms with plants; while as to TP and CODCr, it was opposite. (4) Plants had little effect on wastes treatment. In this study, we provide new knowledge about the constructed wetland and the plants grew there, which will be of great help in the operation of such wastewater treatment.

Key words: pilot experiment; constructed wetland microcosms; purification efficiency

4





3





2





1





H





G





ρ(TP)/(mg·L-1)





ρ(CODcr,BOD5)/(mg·L-1)





E





F





ρ(NO2-N)/(mg·L-1)





ρ(TN,NH3-N)/(mg·L-1)





G





H





E





F





C





D





B





A





A





B





D





C





pH





ρ(NO3-N)/(mg·L-1)





B








A





ρ(DO)/(mg·L-1)








基金项目：科技部镇江863专项（2003AA06011000-04）；广东省科技攻关项目（2003C32201）；广州市攻关项目（2003J1-C0341）
作者简介：刘春常（1980－），男，博士研究生，研究方向为湿地生态工程。E-mail: liucc3505@scib.ac.cn
          *通讯联系人
收稿日期：2006-12-15

_1242628915.xls
图表6

		4.29		0.4338238981		0.4338238981

		5.24		0.7862845453		0.7862845453

		6.09		0.7175379716		0.7175379716

		6.29		0.3345406706		0.3345406706

		8.09		0.2907570851		0.2907570851

		8.26



DO

日期

DO/（mg•L-1）

0.4494444444

1.055

0.8466666667

0.9916666667

0.3544444444

0.3155



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242630060.xls
图表9

		4.29		0.1871946332		0.1871946332

		5.24		NaN		NaN

		6.09		0.0023119016		0.0023119016

		6.29		NaN		NaN

		8.09		NaN		NaN

		8.26		0.0447437418		0.0447437418



NO2-N

日期

NO2-N/（mg•L-1）

0.1938333333

0.0110694444

0.0024866667

0.0023666667

0.0072333333

0.0462605556



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243428959.xls
图表3

		进水		0.063		0.063

		空白		0.0738115719		0.0738115719

		白姜花		0.0522369955		0.0522369955

		风车草		0.0078763594		0.0078763594

		薏苡		0.0378980113		0.0378980113

		水芋		0.0134715063		0.0134715063

		叠穗莎草		0.022689531		0.022689531



pH

pH

7.4583333333

7.3105555556

6.7694444444

6.6722222222

6.63

6.6144444444

6.6105555556



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243429051.xls
图表4

		空白		0.1039597055		0.1039597055

		白姜花		0.0786190416		0.0786190416

		进水		0.0557		0.0557

		风车草		0.0673600057		0.0673600057

		水芋		0.0124242147		0.0124242147

		薏苡		0.0168085626		0.0168085626

		叠穗莎草		0.0045692612		0.0045692612



NO3-N

ρ(NO3-N)/(mg.L-1)

0.6815555556

0.3671111111

0.2029666667

0.1981111111

0.1348333333

0.1126666667

0.1038611111



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243429149.xls
图表6

		进水		进水		0.917		0.917		0.7895		0.7895

		空白		空白		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		白姜花		白姜花		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		水芋		水芋		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		风车草		风车草		0.3464515492		0.3464515492		0.246241467		0.246241467

		叠穗莎草		叠穗莎草		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		薏苡		薏苡		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

ρ(TN,NH3-N)/(mg.L-l)

8.3395

9.8641666667

2.9237777778

4.7482222222

3.1966111111

3.6378666667

2.232

3.0571111111

1.8255611111

3.0301111111

1.9345277778

2.6405833333

1.7388333333

2.5747777778



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243429205.xls
图表8

		进水

		风车草

		白姜花

		薏苡

		叠穗莎草

		水芋

		空白



TP

ρ(TP)/(mg.L-1)

0.7428333333

0.2659444444

0.2293888889

0.2076111111

0.1613888889

0.1461388889

0.0895555556



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243428960.xls
图表2

		进水

		空白

		风车草

		白姜花

		水芋

		叠穗莎草

		薏苡



DO

ρ(DO)/(mg.L-1)

2.652

1.5073333333

0.8433333333

0.8426666667

0.7573333333

0.4513333333

0.4366666667



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243428822.xls
图表7

		进水		进水		7.896		7.896		5.169		5.169

		水芋		水芋		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		白姜花		白姜花		0.626234248		0.626234248		0.1555934874		0.1555934874

		风车草		风车草		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		薏苡		薏苡		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		叠穗莎草		叠穗莎草		3.2297232596		3.2297232596		0.498338573		0.498338573

		空白		空白		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

ρ(BOD5,CODCr)/(mg.L-l)

27.798

55.77

2.326

19.2081666667

3.3973333333

14.6733333333

3.3493333333

13.928

2.997

13.8893333333

3.2508333333

13.4883333333

2.918

13.2036666667



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1243428861.xls
图表5

		进水		0.0387614981		0.0387614981

		空白		0.0333		0.0333

		白姜花		0.0284417041		0.0284417041

		风车草		0.0047773354		0.0047773354

		水芋		0.0303092232		0.0303092232

		薏苡		0.0212912003		0.0212912003

		叠穗莎草		0.0009245539		0.0009245539



NO2-N

ρ(NO2-N)/(mg.l-1)

0.1381133333

0.1038

0.0726266667

0.0527533333

0.0370833333

0.0266733333

0.01006



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242631344.xls
图表1

		进水		0.05		0.05

		薏苡		0.1452966315		0.1452966315

		空白		0.019245009		0.019245009

		白姜花		0.1601503923		0.1601503923

		水芋		0.2335316617		0.2335316617

		叠穗莎草		0.1004618962		0.1004618962

		风车草		0.0535758376		0.0535758376



T

T/℃

27.05

26.6833333333

26.4611111111

26.4611111111

26.2388888889

26.1611111111

26.1444444444



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

温度℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

溶解氧mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242629016.xls
图表11

		4.29		0.1871946332		0.1871946332

		5.24		NaN		NaN

		6.09		0.0023119016		0.0023119016

		6.29		NaN		NaN

		8.09		NaN		NaN

		8.26		0.0447437418		0.0447437418



TP

日期

TP/（mg•L-1）

0.2623888889

0.2009166667

0.1662666667

0.1478333333

0.1412222222

0.1385555556



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

TP

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242629074.xls
图表14

		5.24		5.24		6.7501929818		6.7501929818		0.899773046		0.899773046

		6.09		6.09		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		6.29		6.29		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		8.09		8.09		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		8.26		8.26		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期

CODCR ,BOD5/（mg•L-1）

27.5755555556

4.6633333333

17.879

3.712

13.9105555556

2.1383333333

9.9277777778

2.8883333333

8.8244444444

2.4844444444



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.3503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.3123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7683333333		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7493389362		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

TP

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7493389362		0.7493389362

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242628916.xls
图表10

		4.29

		5.24

		6.09

		6.29

		8.09

		8.26



T

日期

T/ ℃

23.7611111111

25.1833333333

25.3266666667

28.6111111111

27.9055555556

27.25



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.3033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333				6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.0903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667				7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2466666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.18		2.5866666667				1.5866666667		0.3266666667				7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.134				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15				6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.031		0.063		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5				6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.0835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7				6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667				7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.8523333333		0.7493333333		0.4796666667		0.7486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N														NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		COD		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																										NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444





Sheet2

		0

		0

		0

		0

		0

		0



T

日期 date

温度temperature (℃)

A

0

0

0

0

0

0



Sheet3

		0

		0

		0

		0

		0

		0



C

pH

日期 date

pH

C

0

0

0

0

0

0



Sheet4

		0

		0

		0

		0

		0

		0



TP

日期 date

TP浓度concentration of TP (mg/l)

D

0

0

0

0

0

0



		0

		0

		0

		0

		0



DO

日期 date

溶解氧dissolved oxygen (mg/l)

B

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



NO2-N

NO3-N

日期 date

NO3-N和NO2-N浓度concentration of NO3-N and NO2-N (mg/l)

E

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



NH3-N

TN

日期 date

NH3-N与TN浓度concentration of NH3-N and TN (mg/l)

F

0

0

0

0

0

0

0

0

0

0

0

0



		0		0

		0		0

		0		0

		0		0

		0		0



COD

BOD

日期 date

COD和BOD浓度concentration of COD and BOD (mg/l)

G

0

0

0

0

0

0

0

0

0

0



				T				DO				pH				NO2-N		NO3-N				NH3-N		TN				BOD		COD				TP

		进水		27.05		进水		2.652		进水		7.4583333333		空白		0.1381133333		0.6815555556		进水		8.3395		9.8641666667		进水		27.798		55.77		进水		0.7428333333

		薏苡		26.6833333333		空白		1.5073333333		空白		7.3105555556		白姜花		0.0726266667		0.3671111111		空白		2.9237777778		4.7482222222		薏苡		2.997		30.8893333333		风车草		0.2076111111

		羊蹄		26.5533333333		羊蹄		1.17		羊蹄		6.9173333333		进水		0.1038		0.2029666667		白姜花		3.1966111111		4.4961666667		叠穗莎草		3.73		19.813		白姜花		0.2293888889

		空白		26.4611111111		风车草		0.8433333333		白姜花		6.7694444444		羊蹄		0.0883666667		0.2006		羊蹄		2.4978		3.6378666667		水芋		2.326		16.4476666667		羊蹄		0.2344666667

		白姜花		26.4611111111		白姜花		0.8426666667		风车草		6.6722222222		风车草		0.0527533333		0.1981111111		水芋		2.232		3.0571111111		羊蹄		3.2508333333		15.1241666667		薏苡		0.0895555556

		水芋		26.2388888889		水芋		0.7573333333		薏苡		6.63		水芋		0.0370833333		0.1348333333		风车草		1.8255611111		3.0301111111		白姜花		3.3973333333		14.6733333333		叠穗莎草		0.1461388889

		叠穗莎草		26.1611111111		叠穗莎草		0.4513333333		水芋		6.6144444444		薏苡		0.0166733333		0.1126666667		叠穗莎草		1.9345277778		2.6405833333		风车草		3.3493333333		13.928		水芋		0.1613888889

		风车草		26.1444444444		薏苡		0.4366666667		叠穗莎草		6.6105555556		叠穗莎草		0.01006		0.1038611111		薏苡		1.7388333333		2.5747777778		空白		2.918		13.2036666667		空白		0.2659444444





		0

		0

		0

		0

		0

		0

		0

		0



T

温度 temperature (℃)

A



		0

		0

		0

		0

		0

		0

		0

		0



DO

溶解氧dissolved oxygen (mg/l)

B



		0

		0

		0

		0

		0

		0

		0

		0



pH

pH

C



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



NO2-N

NO3-N

NO3-N及NO2-N浓度concentration of NO3-N and NO2-N (mg/l)

E



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



NH3-N

TN

NH3-N及TN浓度concentration of NH3-N and TN (mg/l)

F



		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0

		0		0



BOD

COD

COD和BOD浓度concentration of COD and BOD (mg/l)

G



		0

		0

		0

		0

		0

		0

		0

		0



TP

磷浓度concentration of P mg/l

D



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1237621295.xls
图表1

		4.05		4.05		4.05		4.05		4.05

		4.26		4.26		4.26		4.26		4.26

		5.24		5.24		5.24		5.24		5.24

		6.29		6.29		6.29		6.29		6.29

		8.09		8.09		8.09		8.09		8.09

		8.26		8.26		8.26		8.26		8.26



风车草

白姜花

薏苡

叠穗莎草

水芋

日期

tillers

45

9

18

64

9

87.75

12.25

17.25

85.8

9.25

114.75

16.75

17

77.4

9.75

146.25

25.75

17.25

65.6

10.25

193.5

34

18.75

15

154.25

44

19.25

16



Sheet1

				4.05		4.26		5.24		6.29		8.09		8.26		中试				4.05		4.26		5.24		6.29		8.09		8.26		中试

		风车草		46.475		55.1		58.85		86.375		125.85		155.8		194		风车草		45		87.75		114.75		146.25		193.5		154.25		21.3

		白姜花		71.025		83		89.55		100.275		104.975		101.475		191.5		白姜花		9		12.25		16.75		25.75		34		44		5

		薏苡		35		46.975		81.075		150.825		257.5		289.1		175.5		薏苡		18		17.25		17		17.25		18.75		19.25		1.5

		叠穗莎草		45		79.45		123.6		122.75						245.5		叠穗莎草		64		85.8		77.4		65.6						5

		水芋		47.35		59.35		69.025		106.325		124.025		108.125		144.5		水芋		9		9.25		9.75		10.25		15		16		15

																212.3																8

																				0.16		16		16		16		16		16

				风车草		白姜花		加拿大蓬		薏苡		叠穗莎草		水芋

		4.05		46.475		71.025		23.2		35		45		47.35

		4.26		55.1		83		28.9		46.975		79.45		59.35

		5.24		58.85		89.55		40.825		81.075		123.6		69.025

		6.29		86.375		100.275		69		150.825		122.75		106.325

		8.09		125.85		104.975		150		257.5				124.025

		8.26		155.8		101.475		207.8666666667		289.1				108.125

		中试		194		191.5		175.5		245.5		144.5		212.3





Sheet1

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



风车草

白姜花

薏苡

叠穗莎草

水芋

日期  date

高度 height (cm)

A

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



风车草

白姜花

薏苡

叠穗莎草

水芋

日期  date

分蘖数  tillers

B

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Sheet3

		





		






_1242628567.xls
图表5

		4.29		0.2825938061		0.2825938061

		5.24		0.2597709614		0.2597709614

		6.09		0.2494029909		0.2494029909

		6.29		0.2424598369		0.2424598369

		8.09		0.2651674124		0.2651674124

		8.26		0.3249436256		0.3249436256



pH

日期

pH

6.9016666667

6.6772222222

6.6786666667

6.5472222222

6.6772222222

6.6922222222



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242628806.xls
图表12

		4.29		4.29		2.1572418948		2.1572418948		1.187986327		1.187986327

		5.24		5.24		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		6.09		6.09		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		6.29		6.29		1.0413581384		1.0413581384		0.7493389362		0.7493389362

		8.09		8.09		1.677786653		1.677786653		1.4307507618		1.4307507618

		8.26		8.26		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期

TN,NH3-N/（mg•L-1）

4.1792222222

6.3633333333

2.2631388889

2.7681388889

2.7318666667

3.6834

0.7683333333

1.5814444444

2.0993944444

2.8250555556

1.4390555556

2.2228333333



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.3503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.3123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7683333333		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7493389362		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

TP

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7493389362		0.7493389362

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1242628535.xls
图表8

		4.29		0.4697401736		0.4697401736

		5.24		0.1924182332		0.1924182332

		6.09		0.2216763406		0.2216763406

		6.29		0.1139961709		0.1139961709

		8.09		0.1658077551		0.1658077551

		8.26		0.0431263678		0.0431263678



NO3-N

日期

NO3-N/（mg•L-1）

0.5727142857

0.2290714286

0.3253333333

0.1282857143

0.1997619048

0.1058571429



Sheet1

		T		DO		PH		NO2		NO3		NH4		TN		TP		COD		BOD

		27.05		2.652		7.4583333333		0.1038		0.2029666667		8.3395		9.8641666667		0.7428333333		55.77		27.798

		26.1833333333		0.954		6.6783333333		0.05066		0.128		2.1011		3.3081666667		0.229		8.56		3.12

		26.1666666667		0.716		6.675		0.04938		0.2623333333		1.7485666667		3.1401666667		0.2155		6.31		3.084

		26.0833333333		0.86		6.6633333333		0.05822		0.204		1.6270166667		2.642		0.1783333333		7.05		2.55

		26.4333333333		0.85		6.7833333333		0.10532		0.4245		2.693		4.157		0.194		10.69		3.228

		26.3166666667		0.664		6.8133333333		0.05358		0.3993333333		3.1253333333		4.6556666667		0.2116666667		3.36		3.43

		26.6333333333		1.014		6.7116666667		0.05898		0.2775		3.7715		4.6758333333		0.2825		5.23		3.534

		26.4		1.0375		6.828		0.088825		0.2148		2.8928		4.0294		0.2698		7.89		3.295

		26.5		1.09		6.96		0.06685		0.1816		2.177		3.1952		0.1804		8.28		3.1225

		26.76		1.3825		6.964		0.109425		0.2054		2.4236		3.689		0.2532		15.48		3.335

		26.6166666667		0.342		6.595		0.00254		0.1168333333		2.2825		3.1928333333		0.0873333333		14.29		2.026

		26.85		0.564		6.6566666667		0.01294		0.0941666667		1.3592166667		2.0326666667		0.0941666667		8.88		2.322

		26.5833333333		0.404		6.664		0.03454		0.127		1.5747833333		2.4988333333		0.0871666667		9.99		2.63

		26.2666666667		0.458		6.5983333333		0.00964		0.1098		2.3584		3.095		0.151		8.78		3.13

		26.15		0.414		6.6083333333		0.00942		0.1055		2.019		2.6173333333		0.136		6.65		3.842

		26.0666666667		0.482		6.625		0.01112		0.1006666667		1.6433333333		2.505		0.151		10.56		2.882

		26		0.716		6.64		0.075525		0.1221666667		2.2805		3.3455		0.1655		8.15		3.664

		26.25		0.802		6.5966666667		0.022		0.1353333333		2.1093333333		2.8345		0.1538333333		8.36		2.848

		26.4666666667		0.754		6.6066666667		0.02412		0.147		2.3061666667		2.9913333333		0.1648333333		10.33		4.6575

		26.45		1.782		7.395		0.11036		0.5933333333		2.5436666667		4.1598333333		0.2338333333		13.27		3.1725

		26.4833333333		1.204		7.2783333333		0.12158		0.7961666667		3.0045		5.0285		0.2705		13.66		2.764

		26.45		1.536		7.2583333333		0.1824		0.6551666667		3.2231666667		5.0563333333		0.2935		10.05		3.258

						6.7868637566





Sheet2

				23.6666666667		25.0666666667		25.1		28.2333333333		27.6		27.2				1.0033333333		0.5966666667		1.2166666667		0.8766666667		0.2233333333						6.9433333333		6.6466666667		6.72		6.4966666667		6.6266666667		6.6				0.256		0.0026		0.0028666667		0.0014666667		0.0008333333		0.0527533333				0.696		0.1903333333		0.1883333333		0.0756666667		0.074		0.0643333333				5.4743333333		2.7216666667		1.7216666667		0.355		0.4263666667		0.2543333333				9.5166666667		3.1253333333		3.0793333333		1.0333333333		0.9336666667		0.4923333333				0.4846666667		0.298		0.219		0.0936666667		0.0856666667		0.0646666667				31.4133333333		9.025		13.3333333333		4.94		7.3066666667		4.7633333333		3		1.64		3.22		1.9666666667

				23.6666666667		25.3666666667		25.5333333333		28.8		27.8333333333		27.5666666667				0.63		1.1533333333		0.9733333333		1.23		0.2266666667						7.11		6.88		6.7366666667		6.5633333333		6.68		6.6466666667				0.342		0.0119333333		0.0031		0.0036333333		0.0024666667		0.0726266667				1.2783333333		0.2066666667		0.3646666667		0.115		0.096		0.102				4.365		4.7793333333		4.045		1.1143333333		2.931		1.945				8.3266666667		5.4343333333		5.2936666667		1.7986666667		3.4713333333		2.6523333333				0.2913333333		0.2786666667		0.2143333333		0.238		0.1813333333		0.1726666667				29.9233333333		8.19		20.1766666667		8.65		6.4266666667		4.2333333333		3.7933333333		2.7933333333		3.4266666667		2.74

				23.9666666667		25.6666666667				29.1		27.3333333333		26.7				0.48		2.5866666667				1.5866666667		0.3266666667						7.0266666667		6.9066666667				6.7633333333		6.9533333333		6.9366666667				0.3176666667		0.0046				0.0047333333		0.0264666667		0.0883666667				0.5276666667		0.184				0.065		0.1583333333		0.118				3.2983333333		2.818				1.574		2.5356666667		2.263				5.6833333333		3.2996666667				2.5856666667		3.1293333333		3.4913333333				0.2373333333		0.258				0.2616666667		0.1956666667		0.2196666667				20.71				15.5566666667		13.68		10.55		4.2366666667				3.3033333333		2.1733333333		3.29

				23.9		25.1666666667		25.7		28.8		28.5		28.0333333333				0.2333333333		0.4866666667		0.5166666667		0.7966666667		0.15						6.9333333333		6.5766666667		6.63		6.51		6.52		6.61				0.065		0.0138		0.0034		0.0011666667		0		0.0166733333				0.152		0.089		0.2826666667		0.131		0.263		0.0583333333				5.5903333333		1.1863333333		2.9443333333		0.3253333333		0.1413333333		0.2453333333				6.7866666667		2.1336666667		3.916		1.083		0.887		0.6423333333				0.1896666667		0.111		0.0726666667		0.0726666667		0.0416666667		0.0496666667				33.17		20.865		5.5033333333		11.6466666667		11.0533333333		4.1266666667		3.2166666667		1.2933333333		1.3866666667		1.6066666667

				23.6333333333		24.7666666667		25		28.2		28.3		27.0666666667				0.1866666667		0.61		0.42		0.54		0.5						6.5733333333		6.56		6.56		6.4633333333		6.7166666667		6.79				0.0263333333		0.0099333333		0.0011333333		0.0011333333		0.0117666667		0.01006				0.0666666667		0.1835		0.1413333333		0.0626666667		0.151		0.118				2.359		1.0555		1.2113333333		0.2503333333		4.1566666667		2.5743333333				3.02		1.3215		1.739		0.949		5.2806666667		3.5333333333				0.216		0.1535		0.0953333333		0.0746666667		0.1723333333		0.165				18.56		20.34		10.6933333333		11.3833333333		8.6633333333		4.1		3.79		1.72		4.1066666667		3.03

				23.7333333333		25.0666666667		25.3		28.5333333333		27.8666666667		26.9333333333				0.1633333333		0.8966666667		1.1066666667		0.92		0.7						6.8233333333		6.4933333333		6.7466666667		6.4866666667		6.5666666667		6.57				0.156		0.02355		0.0019333333		0.0020666667		0.0018666667		0.0370833333				0.2166666667		0.0976666667		0.2256666667		0.069		0.1073333333		0.0926666667				3.9883333333		1.018		3.737		0.891		2.4053333333		1.3523333333				4.8466666667		1.2943333333		4.389		2.039		3.2483333333		2.5253333333				0.1553333333		0.1063333333		0.23		0.1463333333		0.1706666667		0.1596666667				31.6766666667		30.975		18.2		9.2666666667		8.9466666667		6.52		4.76		2.08		3.0166666667		2.2733333333

				23.8666666667		25.4333333333		25.6333333333		28.9		28.1333333333		26.8				1.28		1.89		2.42		1.01		0.9366666667						7.4966666667		7.22		7.2633333333		7.13		7.2733333333		7.48				0.5726666667		0.09		0.0077666667		0.0089666667		0.0111666667		0.1381133333				1.0716666667		0.6523333333		0.7493333333		0.3796666667		0.5486666667		0.1876666667				3.3156666667		2.784		3.7866666667		2.4123333333		2.817		2.427				6.2933333333		4.2383333333		6.045		3.8193333333		4.6443333333		3.449				0.234		0.1936666667		0.2786666667		0.3116666667		0.2806666667		0.297				37.03		52.8833333333		39.6733333333		12.5333333333		12.3266666667		3.9566666667		2.155		2.7766666667		3.27		2.8266666667

				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				4.29		5.24		6.09		6.29		8.09		8.26				5.24		6.09		6.29		8.09		8.26

		T		23.7611111111		25.1833333333		25.3266666667		28.6111111111		27.9055555556		27.25		DO		0.4494444444		1.055		0.8466666667		0.9916666667		0.3544444444		0.3155		pH		6.9016666667		6.6772222222		6.6786666667		6.5472222222		6.6772222222		6.6922222222		NO2-N		0.1938333333		0.0110694444		0.0024866667		0.0023666667		0.0072333333		0.0462605556		NO3-N		0.5727142857		0.2290714286		0.3253333333		0.1282857143		0.1997619048		0.1058571429		NH3-N		4.1792222222		2.2631388889		2.7318666667		0.7516666667		2.0993944444		1.4390555556		TN														TP		0.2623888889		0.2009166667		0.1662666667		0.1478333333		0.1412222222		0.1385555556		CODCr		27.5755555556		17.879		13.9105555556		9.9277777778		8.8244444444

																																												NO3-N		0.4895555556		0.1585277778		0.2405333333		0.0863888889		0.1416111111		0.0922222222																TN		6.3633333333		2.7681388889		3.6834		1.5814444444		2.8250555556		2.2228333333																														BOD5		4.6633333333		3.712		2.1383333333		2.8883333333		2.4844444444

																																																																								NO3-N		0.4895555556		0.1235277778		0.2405333333		0.0697222222		0.1082777778		0.0922222222

				0.1329359157		0.2949307156		0.2895718423		0.3414875644		0.4043415184		0.4701682689		0		0.4338238981		0.7862845453		0.7175379716		0.3345406706		0.2907570851		0		0		0.2825938061		0.2597709614		0.2494029909		0.2424598369		0.2651674124		0.3249436256		0		0.1871946332				0.0023119016						0.0447437418		0		0.4697401736		0.1924182332		0.2216763406		0.1139961709		0.1658077551		0.0431263678		0		1.187986327		1.3693164648		1.1865453309		0.7938779343		1.4307507618		0.991327465		0		2.1572418948		1.5296412645		1.5451957517		1.0413581384		1.677786653		1.3155347877		0		0.1083705919		0.0796378792		0.0818214859		0.0983485326		0.0775377703		0.0854074889		0		6.7501929818		16.6122490757		10.8830275122		2.9416315705		2.1036756696		0.899773046		0.8813069525		0.7389492755		0.8936534016		0.6048966854		0		0		0		0





Sheet2

		0		0.1329359157		0.1329359157

		0		0.2949307156		0.2949307156

		0		0.2895718423		0.2895718423

		0		0.3414875644		0.3414875644

		0		0.4043415184		0.4043415184

		0		0.4701682689		0.4701682689



T

日期 date

℃

T

0

0

0

0

0

0



Sheet3

		0		0.2825938061		0.2825938061

		0		0.2597709614		0.2597709614

		0		0.2494029909		0.2494029909

		0		0.2424598369		0.2424598369

		0		0.2651674124		0.2651674124

		0		0.3249436256		0.3249436256



pH

日期 date

pH

0

0

0

0

0

0



Sheet4

		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



TP

日期 date

浓度mg.L-1

P

0

0

0

0

0

0



		0		0.4338238981		0.4338238981

		0		0.7862845453		0.7862845453

		0		0.7175379716		0.7175379716

		0		0.3345406706		0.3345406706

		0		0.2907570851		0.2907570851

		0



DO

日期 date

浓度mg.L-1

DO

0

0

0

0

0

0



		0		0.1871946332		0.1871946332

		0		NaN		NaN

		0		0.0023119016		0.0023119016

		0		NaN		NaN

		0		NaN		NaN

		0		0.0447437418		0.0447437418



NO2-N

日期 date

浓度mg.L-1

NO2-N

0

0

0

0

0

0



		0		0		2.1572418948		2.1572418948		1.187986327		1.187986327

		0		0		1.5296412645		1.5296412645		1.3693164648		1.3693164648

		0		0		1.5451957517		1.5451957517		1.1865453309		1.1865453309

		0		0		1.0413581384		1.0413581384		0.7938779343		0.7938779343

		0		0		1.677786653		1.677786653		1.4307507618		1.4307507618

		0		0		1.3155347877		1.3155347877		0.991327465		0.991327465



NH3-N

TN

日期 date

浓度mg.L-1

NH3-N  TN

0

0

0

0

0

0

0

0

0

0

0

0



		0		0		6.7501929818		6.7501929818		0.899773046		0.899773046

		0		0		16.6122490757		16.6122490757		0.8813069525		0.8813069525

		0		0		10.8830275122		10.8830275122		0.7389492755		0.7389492755

		0		0		2.9416315705		2.9416315705		0.8936534016		0.8936534016

		0		0		2.1036756696		2.1036756696		0.6048966854		0.6048966854



CODCr

BOD5

日期 date

浓度mg.L-1

CODCR   COD5

0

0

0

0

0

0

0

0

0

0



		0		0.4697401736		0.4697401736

		0		0.1924182332		0.1924182332

		0		0.2216763406		0.2216763406

		0		0.1139961709		0.1139961709

		0		0.1658077551		0.1658077551

		0		0.0431263678		0.0431263678



NO3-N

日期 date

浓度 mg.L-1

NO3-N

0

0

0

0

0

0



				T						DO						pH						NO2-N						NO3-N						NH3-N		TN								BOD5		CODCr								TP

		进水		27.05		0.05		进水		2.652		0.9578		进水		7.4583333333		0.063		进水		0.1381133333		0.0387614981		空白		0.6815555556		0.1039597055		进水		8.3395		9.8641666667		0.7895		0.917		进水		27.798		55.77		5.169		7.896		进水		0.7428333333		0.0986

		薏苡		26.6833333333		0.1452966315		空白		1.5073333333		0.2900643607		空白		7.3105555556		0.0738115719		空白		0.1038		0.0333		白姜花		0.3671111111		0.0786190416		空白		2.9237777778		4.7482222222		0.3468675833		0.5097497298		水芋		2.326		19.2081666667		0.9061998032		2.8630150337		风车草		0.2659444444		0.0262384013

		空白		26.4611111111		0.019245009		风车草		0.8433333333		0.1198721541		白姜花		6.7694444444		0.0522369955		白姜花		0.0726266667		0.0284417041		进水		0.2029666667		0.0557		白姜花		3.1966111111		3.6378666667		0.5427715484		0.2938999735		白姜花		3.3973333333		14.6733333333		0.1555934874		0.626234248		白姜花		0.2293888889		0.0468361011

		白姜花		26.4611111111		0.1601503923		白姜花		0.8426666667		0.1751152002		风车草		6.6722222222		0.0078763594		风车草		0.0527533333		0.0047773354		风车草		0.1981111111		0.0673600057		水芋		2.232		3.0571111111		0.1070048026		0.2617733505		风车草		3.3493333333		13.928		0.3192052631		0.6438767998		薏苡		0.2076111111		0.0039942088

		水芋		26.2388888889		0.2335316617		水芋		0.7573333333		0.0430967903		薏苡		6.63		0.0378980113		水芋		0.0370833333		0.0303092232		水芋		0.1348333333		0.0124242147		风车草		1.8255611111		3.0301111111		0.246241467		0.3464515492		薏苡		2.997		13.8893333333		0.3020198669		0.9650411639		叠穗莎草		0.1613888889		0.008660254

		叠穗莎草		26.1611111111		0.1004618962		叠穗莎草		0.4513333333		0.0344867124		水芋		6.6144444444		0.0134715063		薏苡		0.0266733333		0.0212912003		薏苡		0.1126666667		0.0168085626		叠穗莎草		1.9345277778		2.6405833333		0.3576865812		0.3132848071		叠穗莎草		3.2508333333		13.4883333333		0.498338573		3.2297232596		水芋		0.1461388889		0.006551788

		风车草		26.1444444444		0.0535758376		薏苡		0.4366666667		0.1145483886		叠穗莎草		6.6105555556		0.022689531		叠穗莎草		0.01006		0.0009245539		叠穗莎草		0.1038611111		0.0045692612		薏苡		1.7388333333		2.5747777778		0.4830086234		0.5837999166		空白		2.918		13.2036666667		0.2640134151		0.2991610492		空白		0.0895555556		0.0300930655





		0		0.05		0.05

		0		0.1452966315		0.1452966315

		0		0.019245009		0.019245009

		0		0.1601503923		0.1601503923

		0		0.2335316617		0.2335316617

		0		0.1004618962		0.1004618962

		0		0.0535758376		0.0535758376



T

℃

T



		0

		0

		0

		0

		0

		0

		0



DO

浓度mg.l-1

DO



		0		0.063		0.063

		0		0.0738115719		0.0738115719

		0		0.0522369955		0.0522369955

		0		0.0078763594		0.0078763594

		0		0.0378980113		0.0378980113

		0		0.0134715063		0.0134715063

		0		0.022689531		0.022689531



pH

pH



		0		0		0.917		0.917		0.7895		0.7895

		0		0		0.5097497298		0.5097497298		0.3468675833		0.3468675833

		0		0		0.2938999735		0.2938999735		0.5427715484		0.5427715484

		0		0		0.2617733505		0.2617733505		0.1070048026		0.1070048026

		0		0		0.3464515492		0.3464515492		0.246241467		0.246241467

		0		0		0.3132848071		0.3132848071		0.3576865812		0.3576865812

		0		0		0.5837999166		0.5837999166		0.4830086234		0.4830086234



NH3-N

TN

浓度mg.L-l

TN  NH3-N



		0		0		7.896		7.896		5.169		5.169

		0		0		2.8630150337		2.8630150337		0.9061998032		0.9061998032

		0		0		0.626234248		0.626234248		0.1555934874		0.1555934874

		0		0		0.6438767998		0.6438767998		0.3192052631		0.3192052631

		0		0		0.9650411639		0.9650411639		0.3020198669		0.3020198669

		0		0		3.2297232596		3.2297232596		0.498338573		0.498338573

		0		0		0.2991610492		0.2991610492		0.2640134151		0.2640134151



BOD5

CODCr

浓度mg.L-l

BOD5  CODCr



		0

		0

		0

		0

		0

		0

		0



TP

浓度 mg.L-1

TP



		0		0.0387614981		0.0387614981

		0		0.0333		0.0333

		0		0.0284417041		0.0284417041

		0		0.0047773354		0.0047773354

		0		0.0303092232		0.0303092232

		0		0.0212912003		0.0212912003

		0		0.0009245539		0.0009245539



NO2-N

浓度mg.l-1

NO2-N



		0		0.1039597055		0.1039597055

		0		0.0786190416		0.0786190416

		0		0.0557		0.0557

		0		0.0673600057		0.0673600057

		0		0.0124242147		0.0124242147

		0		0.0168085626		0.0168085626

		0		0.0045692612		0.0045692612



NO3-N

浓度mg.L-1

NO3-N



		4.05		4.26		5.24		6.29		8.09		8.26		中试						4.05		4.26		5.24		6.29		8.09		8.26		中试

		48.5		54.5		65.5		86.3		135.5		143.2		194						45		54		81		126		162		112		21.3

		45.3		58.3		56.2		89.5		136.5		165.5								45		99		144		162		207		151

		44.6		52.2		55.3		78.6		114.8		157.7								45		72		90		126		180		141

		47.5		55.4		58.4		91.1		116.6		156.8								45		126		144		171		225		213

		46.475		55.1		58.85		86.375		125.85		155.8		194		0		0		45		87.75		114.75		146.25		193.5		154.25		21.3

		70.5		90.5		95.6		103.3		122.7		121.1		191.5						9		11		15		23		34		48		5

		74.3		88.7		85.3		102.5		125.8		93.8								9		14		21		30		41		45

		67.7		72.5		89.6		96.5		85.5		77.5								9		12		16		23		34		37

		71.6		80.3		87.7		98.8		85.9		113.5								9		12		15		27		27		46

		71.025		83		89.55		100.275		104.975		101.475		191.5		0		0		9		12.25		16.75		25.75		34		44		5

		21.6		28.5		48.8		77.4		135.5		208.8		175.5						12		12		13		11		11		11		1.5

		25.1		26.3		36.6		59.5		152.2		227.3								12		13		17		16		16		17

		22.4		28.5		37.7		76.6		162.3		187.5								12		13		13		17		17		19

		23.7		32.3		40.2		62.5												12		14		19		15

		23.2		28.9		40.825		69		150		207.8666666667		175.5		0		0		12		13		15.5		14.75		14.6666666667		15.6666666667		1.5

		35		52.5		75.2		170.2		265.3		295.3		245.5						18		17		17		17		19		19		5

		35		42.1		83.3		140.4		260.4		275.6								18		19		20		20		23		25

		35		45.5		70.5		150.5		248.8		280.3								18		17		15		15		16		16

		35		47.8		95.3		142.2		255.5		305.2								18		16		16		17		17		17

		35		46.975		81.075		150.825		257.5		289.1		245.5		0		0		18		17.25		17		17.25		18.75		19.25		5

		45		89.5		130.2		110.1						144.5						80		114		105		100						15

		45		76.6		118.5		136.6		收		割								80		95		98		85		收		割

		45		76.2		123.9		128.8												80		132		91		68

		45		75.5		121.8		115.5												80		88		93		75

		45		79.45		123.6		122.75		0		0		144.5		0		0		80		107.25		96.75		82		0		0		15

		49.6		65.5		65.5		103.3		126.6		104.4		212.3						9		10		10		10		16		18		8

		49.3		60.3		73.1		108.8		117.7		111.2								9		9		10		11		13		18

		45.7		57.7		64.4		108.5		131.3		117.1								9		9		10		10		11		12

		44.8		53.9		73.1		104.7		120.5		99.8								9		9		9		10		20		16

		47.35		59.35		69.025		106.325		124.025		108.125		212.3		0		0		9		9.25		9.75		10.25		15		16		8






_1237618932.xls
图表2

		4.05		4.05		4.05		4.05		4.05

		4.26		4.26		4.26		4.26		4.26

		5.24		5.24		5.24		5.24		5.24

		6.29		6.29		6.29		6.29		6.29

		8.09		8.09		8.09		8.09		8.09

		8.26		8.26		8.26		8.26		8.26



风车草

白姜花

薏苡

叠穗莎草

水芋

日期

h/cm

46.475

71.025

35

45

47.35

55.1

83

46.975

79.45

59.35

58.85

89.55

81.075

123.6

69.025

86.375

100.275

150.825

122.75

106.325

125.85

104.975

257.5

124.025

155.8

101.475

289.1

108.125



Sheet1

				4.05		4.26		5.24		6.29		8.09		8.26		中试				4.05		4.26		5.24		6.29		8.09		8.26		中试

		风车草		46.475		55.1		58.85		86.375		125.85		155.8		194		风车草		45		87.75		114.75		146.25		193.5		154.25		21.3

		白姜花		71.025		83		89.55		100.275		104.975		101.475		191.5		白姜花		9		12.25		16.75		25.75		34		44		5

		薏苡		35		46.975		81.075		150.825		257.5		289.1		175.5		薏苡		18		17.25		17		17.25		18.75		19.25		1.5

		叠穗莎草		45		79.45		123.6		122.75						245.5		叠穗莎草		64		85.8		77.4		65.6						5

		水芋		47.35		59.35		69.025		106.325		124.025		108.125		144.5		水芋		9		9.25		9.75		10.25		15		16		15

																212.3																8

																				0.16		16		16		16		16		16

				风车草		白姜花		加拿大蓬		薏苡		叠穗莎草		水芋

		4.05		46.475		71.025		23.2		35		45		47.35

		4.26		55.1		83		28.9		46.975		79.45		59.35

		5.24		58.85		89.55		40.825		81.075		123.6		69.025

		6.29		86.375		100.275		69		150.825		122.75		106.325

		8.09		125.85		104.975		150		257.5				124.025

		8.26		155.8		101.475		207.8666666667		289.1				108.125

		中试		194		191.5		175.5		245.5		144.5		212.3





Sheet1

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



风车草

白姜花

薏苡

叠穗莎草

水芋

日期  date

高度 height (cm)

A

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Sheet2

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0

		0		0		0		0		0



风车草

白姜花

薏苡

叠穗莎草

水芋

日期  date

分蘖数  tillers

B

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0

0



Sheet3

		





		






